Ref SN.6/XXXXX Issue Date: January 2024



**FIRE** – Service Team Accommodation

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Hazard | At Risk | Control Measures | Severity | Likelihood | Rating | Further Action |
| Fire during the night | All | * Smoke alarms are fitted to all cabins to alert residents in case of a fire developing during the night and allowing prompt evacuation before it escalates too far | 2 | 1 | 2 | Adequately Controlled |
| Electrical fault | All | * Installation completed by qualified electrician and building is included in regular electrical installation testing | 2 | 1 | 2 | Adequately Controlled |
| Fire from cigarettes | All | * Smoking is forbidden on-site indoors and outside other than the designated smoking shelter | 1 | 1 | 1 | Adequately Controlled |
| Fire from electrical heaters | All | * All heaters are fixed to the walls to prevent moving too close to sources of ignition. * Smoke detector would provide early indication of a fire to allow prompt evacuation | 2 | 1 | 1 | Adequately Controlled |
| Fire from external fire pit or fire barrel | All | * Fires are not allowed in close proximity to the buildings. Staff keep an eye out for this and advise groups accordingly | 1 | 1 | 1 | Adequately Controlled |
| Obstruction | All | * Building to be kept clear of equipment or resources and not used for storage (Other than temporary COSHH Store) | 2 | 2 | 4 | Adequately Controlled |